## Sheet1
File: \NOAA\Andor\CCD-16343\doc\20190619_CCD-16343_Andor_SOLIS_Help-About.xlsx
Date: 19-Jun-2019; by= MF/MLML; rev=19-Jun-2019
What: Andor SOLIS software, Help / About settings
Also see: \ProgramData\AndorSolis\1\AndorSolis.cfg
Note: this camera installed in RS05, Resonon # 100124-5, Leoni fiber bundle # 280905
…after Andor RMA#R62040 = install wedge window & Resonon re-assembly of RS05
Andor SOLIS for imaging
Copyright 2008. All Rights Reserved
Website: www.andor.com
Contact: www.andor.com/contact_us/suport_request/
Andor SOLIS / Help / Aboot…
Solis Version: | 4.23.30002.0
SDK Version: | 2.95.30002.0
Camera Model: | DU934P_BR,DD, USB
Current Working Directory: | C:\Program Files (x86)\Andor SOLIS
Firmware Details
EEPROM Version | 24 | Device Driver | 1.2.6.0
Product ID | 0x0C | FPGA Version | 20.24
Firmware Rev. | 0x0a | USB (Silicon) ID | FX2LP [1]
Independent 12CB | No
Information
ID String | Andor
Structure Version No | 24
Instrument Serial No | 16343
Date of Manufacture | 23/01/2014
Last Modified | 23/1/2014
Operator Initials | CS
DDG Address | 0
Internal Shutter | check
Properties
Head | DU9
Device | 34P
Sensor Options | BR, DD
Grade | A
Cooler | 4
Special Features | blank, blank
Head Type | 9
Chip
Format | 1024, 1024
Pixel Size | 13, 13
Dark Columns: Left | 17
Dark Columns: Right | 15
Dark Rows: Top | 3
Dark Rows: Bottom | 0
Overscan Pixels: Left | 8
Overscan Pixels: Right | 8
Register Size | 0
FT Storage Rows | 0
Version Control
CCD Serial Number | 10141, 09, 13
Headboard | blank
Engine Version | 20.24
RMA Number | NA
Speeds
Vertical Shift Speeds (μsec)
Slowest | 70
Fastest at normal amplitude | 4
Absolute Fastest | 2
Edge Change | 130
Horizontal Speeds (MHz)
Number of Sensor Outputs | 1
Max sensor readout speed (LS) | 6
Max sensor readout speed (HP) | 6
Max horizontal register speed | 20
Channels
Channel 1 | blank, PAT
Channel 2 | blank, PAT
Channel 3 | blank, PAT
Channel 4 | H, P02R
Desired Baseline | 1000
Scheme
Vers., Struct.
masternewton | 1, 1
P02R34P_4H | 1, 1