## Sheet1
Resonon Data Acquistion Log Sheet for use with Roper Scientific WinView control software ( rev: 09-Oct-2010 )
Spreadsheet Filename: | Example_resonon_log.xls
Experiment name: | test
Date (note local/GMT): | 2010-10-08
Location: | NIST, MD, RSL bldg 221, rm A14
Observers: | Mike Lin
Instrument: | Resonon Red
Purpose: | 1st test of Red Resonon
File Extention | filenum | Source | Wavelength | Lite/Dark | T1 | T2 | T3 | T4 | T5 | T6 | T7 | T8 | T9 | T10 | T11 | T12 | T13 | T14 | int time(s) | gain | Speed(Hz) | num of images | Comments
test | 1 | roomlite | 0 | L | [14 empty] | 0.1 | 3 | 2M | 2 | test | bar: T10
test | 2 | roomlite | 0 | L | [14 empty] | 0.1 | 3 | 2M | 11 | bar: T10
test | 3 | dark | 0 | D | [14 empty] | 0.1 | 3 | 2M | 11 | bar: T10