## Sheet1
this is the wiggle test
there is no excel on this computer | sorry
date is Thursday December 3
configuration is one fiber is in the sphere No 2 and the others are in the dark tube
light source is the double sphere with fiber optic illuminator
the fiber is held with the SMA connector so it is rigid and we are moving the fiber
base file name and file sequence followed by note are tab deliminated
we took some photos to document
rand joined us
WT_solic_mount | 0 | initial configuraton | fiber on right side of mount
WT_solic_mount | 1 | big bend with post
WT_solic_mount | 2 | put back where it was
WT_solic_mount | 3 | small bend | fiber on left hand side of mount
WT_solic_mount | 4 | repeated 3 quickly | no change to fiber
WT_solic_mount | 5 | repeated number of images to 10 and moved fiber up and down 1 cm during acquisiton
WT_solic_mount | 6 | repeated accumulations to 10 and moved fiber up and down 1 cm during acquisiton
WT_brighter_source | 3 | starting over reference position on right of mount
WT_brighter_source | 4 | big bend using post
WT_brighter_source | 5 | repeat 3
WT_brighter_source | 6 | just keep taking images manually | checking source stability
WT_brighter_source | 7 | just keep taking images manually | checking source stability
WT_brighter_source | 8 | just keep taking images manually | checking source stability
WT_brighter_source | 9 | just keep taking images manually | checking source stability
WT_rand | 0 | took out fiber and put it back and readjusted light
WT_rand | 1 | these were taken as Carol was putting gentle S curves with one hand
WT_rand | 2 | these were taken as Carol was putting gentle S curves with one hand
WT_rand | 3 | these were taken as Carol was putting gentle S curves with one hand
WT_rand | 4 | was a mistake
WT_rand | 5 | these were taken as Rand was putting in multiple bends with both hands