## Sheet1
2009-12-04 | filenum | int time(s) | gain | Speed(kHz) | num of images | Comment
Check for dark(background) light leakage
1a_BI_ | 1 | 0.1 | 3 | 100 | 1 | Sphere light source off, all Fibers darked, Image sequence:BI images only
1a_BI_ | 2 | 0.1 | 3 | 100 | 1 | Shutter Control Disabled Closed
1a_BI_ | 3 | 0.1 | 3 | 100 | 1
1a_BI_ | 4 | 0.1 | 3 | 100 | 1
1a_BI_ | 5 | 0.1 | 3 | 100 | 1
1b_BI_ | 1 | 600 | 3 | 100 | 1 | Take 10 BI images @ 600 second integration time with Sphere light source on and the room lights off
1b_BI_ | 2 | 600 | 3 | 100 | 1 | Shutter Control Disabled Closed
1b_BI_ | 3 | 600 | 3 | 100 | 1
1b_BI_ | 4 | 600 | 3 | 100 | 1
1b_BI_ | 5 | 600 | 3 | 100 | 1
1b_BI_ | 6 | 600 | 3 | 100 | 1
1b_BI_ | 7 | 600 | 3 | 100 | 1
1b_BI_ | 8 | 600 | 3 | 100 | 1
1b_BI_ | 9 | 600 | 3 | 100 | 1
1b_BI_ | 10 | 600 | 3 | 100 | 1
1c_BI_ | 1 | 0.1 | 3 | 100 | 1 | Take 10 BI images @ 0.1 second integration time with Sphere light source on and the room lights off
1c_BI_ | 2 | 0.1 | 3 | 100 | 1 | Shutter Control Disabled Closed
1c_BI_ | 3 | 0.1 | 3 | 100 | 1
1c_BI_ | 4 | 0.1 | 3 | 100 | 1
1c_BI_ | 5 | 0.1 | 3 | 100 | 1
1c_BI_ | 6 | 0.1 | 3 | 100 | 1
1c_BI_ | 7 | 0.1 | 3 | 100 | 1
1c_BI_ | 8 | 0.1 | 3 | 100 | 1
1c_BI_ | 9 | 0.1 | 3 | 100 | 1
1c_BI_ | 10 | 0.1 | 3 | 100 | 1