## Sheet1
2009-12-08 | filenum | int time(s) | gain | Speed(kHz) | num of images | Comment
check for light leaks with fibers darked and light source on
2c_5BI_600s_01_ | 1 | 600 | 3 | 100 | 5 | Take 5 BI images @ 600 second integration time (Shutter Control Disabled Closed)
2c_10LI_600s_ | 1 | 600 | 3 | 100 | 10 | Take 10 LI images @ 600 second integration time (Shutter Control Normal)
2c_5BI_600s_02_ | 1 | 600 | 3 | 100 | 5 | Take 5 BI images @ 600 second integration time (Shutter Control Disabled Closed)
2d_5BI_01s_01_ | 1 | 0.1 | 3 | 100 | 5 | Take 5 BI images @ 0.1 second integration time (Shutter Control Disabled Closed)
2d_10LI_01s_ | 1 | 0.1 | 3 | 100 | 10 | Take 10 LI images @ 0.1 second integration time (Shutter Control Normal)
2d_5BI_01s_02_ | 1 | 0.1 | 3 | 100 | 5 | Take 5 BI images @ 0.1 second integration time (Shutter Control Disabled Closed)
check CCD cleaning(He/Hg light source on, all fibers illuminated)
3c_10BI_01_ | 1 | 0.35 | 3 | 100 | 10 | Take 10 BI images @ 0.35 second integration time (Shutter Control Disabled Closed)
3c_10LI_ | 1 | 0.35 | 3 | 100 | 10 | Take 10 LI images @ 0.35 second integration time (Shutter Control Normal)
3c_10BI_02_ | 1 | 0.35 | 3 | 100 | 10 | Take 10 BI images @ 0.35 second integration time (Shutter Control Disabled Closed)
3d_cleaning_1_ | 1 | 0.35 | 3 | 100 | 1 | Collect 1 image set at CCD cleaning settings 1
3d_cleaning_5_ | 1 | 0.35 | 3 | 100 | 1 | Collect 1 image set at CCD cleaning settings 5
3d_cleaning_10_1 | 1 | 0.35 | 3 | 100 | 1 | Collect 1 image set at CCD cleaning settings 10
Initial wavelength Calibratrion(light source on, all fibers illuminated)
5b_5BI_01_ | 1 | 0.35 | 3 | 100 | 5 | Take 5 BI images @ 0.35 second integration time (Shutter Control Disabled Closed)
5b_10LI_ | 1 | 0.35 | 3 | 100 | 10 | Take 10 LI images @ 0.35 second integration time (Shutter Control Normal)
5b_5BI_02_ | 1 | 0.35 | 3 | 100 | 5 | Take 5 BI images @ 0.35 second integration time (Shutter Control Disabled Closed)
These files were all named 2b_* so I have renamed them to match Marks Task