## Sheet1
2009-12-10 | filenum | int time(s) | gain | Speed(Hz) | num of images | Comment
Determine Noise at different speed and gain settings (OL420 light source on, all fibers illuminated)
4d_100K_G1_10BI_01_ | 1 | 2.6 | 1 | 100k | 10 | Take 10 BI images @ 2.6 second integration time (Shutter Control Disabled Closed)
4d_100K_G1_10LI_ | 1 | 2.6 | 1 | 100k | 10 | Take 10 LI images @ 2.6 second integration time (Shutter Control Normal)
4d_100K_G1_10BI_02_ | 1 | 2.6 | 1 | 100k | 10 | Take 10 BI images @ 2.6 second integration time (Shutter Control Disabled Closed)
4d_100K_G2_10BI_01_ | 1 | 0.75 | 2 | 100k | 10 | Take 10 BI images @ 0.75 second integration time (Shutter Control Disabled Closed)
4d_100K_G2_10LI_ | 1 | 0.75 | 2 | 100k | 10 | Take 10 LI images @ 0.75 second integration time (Shutter Control Normal)
4d_100K_G2_10BI_02_ | 1 | 0.75 | 2 | 100k | 10 | Take 10 BI images @ 0.75 second integration time (Shutter Control Disabled Closed)
4d_100K_G3_10BI_01_ | 1 | 0.36 | 3 | 100k | 10 | Take 10 BI images @ 0.36 second integration time (Shutter Control Disabled Closed)
4d_100K_G3_10LI_ | 1 | 0.36 | 3 | 100k | 10 | Take 10 LI images @ 0.36 second integration time (Shutter Control Normal)
4d_100K_G3_10BI_02_ | 1 | 0.36 | 3 | 100k | 10 | Take 10 BI images @ 0.36 second integration time (Shutter Control Disabled Closed)
4d_2M_G1_10BI_01_ | 1 | 2.6 | 1 | 2M | 10 | Take 10 BI images @ 2.6 second integration time (Shutter Control Disabled Closed)
4d_2M_G1_10LI_ | 1 | 2.6 | 1 | 2M | 10 | Take 10 LI images @ 2.6 second integration time (Shutter Control Normal)
4d_2M_G1_10BI_02_ | 1 | 2.6 | 1 | 2M | 10 | Take 10 BI images @ 2.6 second integration time (Shutter Control Disabled Closed)
4d_2M_G2_10BI_01_ | 1 | 0.75 | 2 | 2M | 10 | Take 10 BI images @ 0.75 second integration time (Shutter Control Disabled Closed)
4d_2M_G2_10LI_ | 1 | 0.75 | 2 | 2M | 10 | Take 10 LI images @ 0.75 second integration time (Shutter Control Normal)
4d_2M_G2_10BI_02_ | 1 | 0.75 | 2 | 2M | 10 | Take 10 BI images @ 0.75 second integration time (Shutter Control Disabled Closed)
4d_2M_G3_10BI_01_ | 1 | 0.36 | 3 | 2M | 10 | Take 10 BI images @ 0.36 second integration time (Shutter Control Disabled Closed)
4d_2M_G3_10LI_ | 1 | 0.36 | 3 | 2M | 10 | Take 10 LI images @ 0.36 second integration time (Shutter Control Normal)
4d_2M_G3_10BI_02_ | 1 | 0.36 | 3 | 2M | 10 | Take 10 BI images @ 0.36 second integration time (Shutter Control Disabled Closed)
check CCD cleaning(OL420 light source on, all fibers illuminated)
3d_100k_G3_Cleaning_1_10BI_01_ | 1 | 0.36 | 3 | 100k | 10 | Cleaning settings 1,take 10 BI images @ 0.36 second integration time (Shutter Control Disabled Closed)
3d_100k_G3_Cleaning_1_10LI_ | 1 | 0.36 | 3 | 100k | 10 | Cleaning settings 1,take 10 LI images @ 0.36 second integration time (Shutter Control Disabled Closed)
3d_100k_G3_Cleaning_1_10BI_02_ | 1 | 0.36 | 3 | 100k | 10 | Cleaning settings 1,take 10 BI images @ 0.36 second integration time (Shutter Control Disabled Closed)
3d_100k_G3_Cleaning_5_10BI_01_ | 1 | 0.36 | 3 | 100k | 10 | Cleaning settings 5,take 10 BI images @ 0.36 second integration time (Shutter Control Disabled Closed)
3d_100k_G3_Cleaning_5_10LI_ | 1 | 0.36 | 3 | 100k | 10 | Cleaning settings 5,take 10 LI images @ 0.36 second integration time (Shutter Control Disabled Closed)
3d_100k_G3_Cleaning_5_10BI_02_ | 1 | 0.36 | 3 | 100k | 10 | Cleaning settings 5,take 10 BI images @ 0.36 second integration time (Shutter Control Disabled Closed)
3d_100k_G3_Cleaning_10_10BI_01_ | 1 | 0.36 | 3 | 100k | 10 | Cleaning settings 10,take 10 BI images @ 0.36 second integration time (Shutter Control Disabled Closed)
3d_100k_G3_Cleaning_10_10LI_ | 1 | 0.36 | 3 | 100k | 10 | Cleaning settings 10,take 10 LI images @ 0.36 second integration time (Shutter Control Disabled Closed)
3d_100k_G3_Cleaning_10_10BI_02_ | 1 | 0.36 | 3 | 100k | 10 | Cleaning settings 10,take 10 BI images @ 0.36 second integration time (Shutter Control Disabled Closed)