## Sheet1
2009-12-12 | filenum | int time(s) | gain | Speed(Hz) | num of images | Comment
Check CCD cleaning (He/Hg source on, all fibers illuminated)
3d_100K_G3_cleaning_1_10BI_01_ | 1 | 0.28 | 3 | 100k | 10 | Take 10 BI images @ 0.28 second integration time (Shutter Control Disabled Closed) CCD cleaning setting 1
3d_100K_G3_cleaning_1_10LI_ | 1 | 0.28 | 3 | 100k | 10 | Take 10 LI images @ 0.28 second integration time (Shutter Control Normal) CCD cleaning setting 1
3d_100K_G3_cleaning_1_10BI_02_ | 1 | 0.28 | 3 | 100k | 10 | Take 10 BI images @ 0.28 second integration time (Shutter Control Disabled Closed) CCD cleaning setting 1
3d_100K_G3_cleaning_5_10BI_01_ | 1 | 0.28 | 3 | 100k | 10 | Take 10 BI images @ 0.28 second integration time (Shutter Control Disabled Closed) CCD cleaning setting 5
3d_100K_G3_cleaning_5_10LI_ | 1 | 0.28 | 3 | 100k | 10 | Take 10 LI images @ 0.28 second integration time (Shutter Control Normal) CCD cleaning setting 5
3d_100K_G3_cleaning_5_10BI_02_ | 1 | 0.28 | 3 | 100k | 10 | Take 10 BI images @ 0.28 second integration time (Shutter Control Disabled Closed) CCD cleaning setting 5
3d_100K_G3_cleaning_10_10BI_01_ | 1 | 0.28 | 3 | 100k | 10 | Take 10 BI images @ 0.28 second integration time (Shutter Control Disabled Closed) CCD cleaning setting 10
3d_100K_G3_cleaning_10_10LI_ | 1 | 0.28 | 3 | 100k | 10 | Take 10 LI images @ 0.28 second integration time (Shutter Control Normal) CCD cleaning setting 10
3d_100K_G3_cleaning_10_10BI_02_ | 1 | 0.28 | 3 | 100k | 10 | Take 10 BI images @ 0.28 second integration time (Shutter Control Disabled Closed) CCD cleaning setting 10
3d_2M_G3_cleaning_1_10BI_01_ | 1 | 0.28 | 3 | 2M | 10 | Take 10 BI images @ 0.28 second integration time (Shutter Control Disabled Closed) CCD cleaning setting 1
3d_2M_G3_cleaning_1_10LI_ | 1 | 0.28 | 3 | 2M | 10 | Take 10 LI images @ 0.28 second integration time (Shutter Control Normal) CCD cleaning setting 1
3d_2M_G3_cleaning_1_10BI_02_ | 1 | 0.28 | 3 | 2M | 10 | Take 10 BI images @ 0.28 second integration time (Shutter Control Disabled Closed) CCD cleaning setting 1
3d_2M_G3_cleaning_5_10BI_01_ | 1 | 0.28 | 3 | 2M | 10 | Take 10 BI images @ 0.28 second integration time (Shutter Control Disabled Closed) CCD cleaning setting 5
3d_2M_G3_cleaning_5_10LI_ | 1 | 0.28 | 3 | 2M | 10 | Take 10 LI images @ 0.28 second integration time (Shutter Control Normal) CCD cleaning setting 5
3d_2M_G3_cleaning_5_10BI_02_ | 1 | 0.28 | 3 | 2M | 10 | Take 10 BI images @ 0.28 second integration time (Shutter Control Disabled Closed) CCD cleaning setting 5
3d_2M_G3_cleaning_10_10BI_01_ | 1 | 0.28 | 3 | 2M | 10 | Take 10 BI images @ 0.28 second integration time (Shutter Control Disabled Closed) CCD cleaning setting 10
3d_2M_G3_cleaning_10_10LI_ | 1 | 0.28 | 3 | 2M | 10 | Take 10 LI images @ 0.28 second integration time (Shutter Control Normal) CCD cleaning setting 10
3d_2M_G3_cleaning_10_10BI_02_ | 1 | 0.28 | 3 | 2M | 10 | Take 10 BI images @ 0.28 second integration time (Shutter Control Disabled Closed) CCD cleaning setting 10