## Sheet1
17/12/2009 | filenum | int time(s) | gain | Speed(Hz) | num of images | Comment | Mark Yarbrough
Initial Wavelength calibration of Red spec with HgNe lamp, Red and green lasers, Full images
RWaveCal_Hg_1Sec_BI | 1 | 1 | 3 | 2000000 | 11 | Take 10 BI images @ 1 second integration time (Shutter Control Disabled Closed)
RWaveCal_Hg_1Sec_LI | 2 | 1 | 3 | 2000000 | 11 | Take 10 LI images @ 1 second integration time (Shutter Control Normal)
RWaveCal_Hg_10Sec_BI | 3 | 10 | 3 | 2000000 | 11 | Take 10 BI images @ 10 second integration time (Shutter Control Disabled Closed)
RWaveCal_Hg_10Sec_LI | 4 | 10 | 3 | 2000000 | 11 | Take 10 LI images @ 10 second integration time (Shutter Control Normal)
RWaveCal_L532_1Sec_FB_BI | 5 | 1 | 3 | 2000000 | 11 | Take 10 BI images @ 1 second integration time (Shutter Control Disabled Closed)
RWaveCal_L532_1Sec_FB_LI | 6 | 1 | 3 | 2000000 | 11 | Take 10 LI images @ 1 second integration time (Shutter Control Normal)
RWaveCal_L650_1Sec_FB_BI | 7 | 1 | 3 | 2000000 | 11 | Take 10 BI images @ 1 second integration time (Shutter Control Disabled Closed)
RWaveCal_L650_1Sec_FB_LI | 8 | 1 | 3 | 2000000 | 11 | Take 10 LI images @ 1 second integration time (Shutter Control Normal)
Wavelength may actually be 632nm or other
650 is really 670 nm