## Sheet1
2009-12-28 | filenum | int time(s) | gain | Speed(Hz) | num of images | Comment
Check for Ambient light leaks (OL420 off,the fibers uncapped looking in the sphere)
1a_1BI_01s_ | 1 | 0.1 | 3 | 2M | 1 | Take 1 BI images @ 0.1 second integration time (Shutter Control Disabled Closed)
1a_1LI_01s_ | 1 | 0.1 | 3 | 2M | 1 | Take 1 LI images @ 0.1 second integration time (Shutter Control Normal)
1a_1BI_600s_ | 1 | 0.1 | 3 | 2M | 1 | Take 1 BI images @ 600 second integration time (Shutter Control Disabled Closed)
1a_1LI_600s_ | 1 | 0.1 | 3 | 2M | 1 | Take 1 LI images @ 600 second integration time (Shutter Control Normal)
Source Calibrations (CAS)
CAS091228A |  | 95 ms |  |  |  | No filter
CAS091228B |  | 200 ms |  |  |  | BG39
CAS091228C |  | 650 ms |  |  |  | BG28
CAS091228D |  | 155 ms |  |  |  | PER100
Track 7 Calibration (OL420)
3a_Track7_OL420_11BI_01_ | 1 | 0.38 | 3 | 2M | 11 | No filter, take 11 BI images @ 0.38 second integration time (Shutter Control Disabled Closed)
3a_Track7_OL420_11LI_01_ | 1 | 0.38 | 3 | 2M | 11 | No filter, take 11 LI images @ 0.38 second integration time (Shutter Control Normal)
3a_Track7_OL420_11BI_02_ | 1 | 0.38 | 3 | 2M | 11 | No filter, take 11 BI images @ 0.38 second integration time (Shutter Control Disabled Closed)
Track 7 Calibration (OL420)
3a_Track7_OL420_PER100_11BI_01_ | 1 | 0.65 | 3 | 2M | 11 | PER100, take 11 BI images @ 0.65 second integration time (Shutter Control Disabled Closed)
3a_Track7_OL420_PER100_11LI_ | 1 | 0.65 | 3 | 2M | 11 | PER100, take 11 LI images @ 0.65 second integration time (Shutter Control Normal)
3a_Track7_OL420_PER100_11BI_02_ | 1 | 0.65 | 3 | 2M | 11 | PER100, take 11 BI images @ 0.65 second integration time (Shutter Control Disabled Closed)
Track 7 Calibration (OL420)
3a_Track7_OL420_BG28_11BI_01_ | 1 | 2.85 | 3 | 2M | 11 | BG28, take 11 BI images @ 2.85 second integration time (Shutter Control Disabled Closed)
3a_Track7_OL420_BG28_11LI_ | 1 | 2.85 | 3 | 2M | 11 | BG28, take 11 BI images @ 2.85 second integration time (Shutter Control Normal)
3a_Track7_OL420_BG28_11BI_02_ | 1 | 2.85 | 3 | 2M | 11 | BG28, take 11 BI images @ 2.85 second integration time (Shutter Control Disabled Closed)
Track 7 Calibration (OL420)
3a_Track7_OL420_BG39_11BI_01_ | 1 | 0.8 | 3 | 2M | 11 | BG39, take 11 BI images @ 0.8 second integration time (Shutter Control Disabled Closed)
3a_Track7_OL420_BG39_11LI_ | 1 | 0.8 | 3 | 2M | 11 | BG39, take 11 BI images @ 0.8 second integration time (Shutter Control Normal)
3a_Track7_OL420_BG39_11BI_02_ | 1 | 0.8 | 3 | 2M | 11 | BG39, take 11 BI images @ 0.8 second integration time (Shutter Control Disabled Closed)
Track 6 Calibration (OL420)
4a_Track6_OL420_11BI_01_ | 1 | 0.38 | 3 | 2M | 11 | No filter, take 11 BI images @ 0.38 second integration time (Shutter Control Disabled Closed)
4a_Track6_OL420_11LI_01_ | 1 | 0.38 | 3 | 2M | 11 | No filter, take 11 LI images @ 0.38 second integration time (Shutter Control Normal)
4a_Track6_OL420_11BI_02_ | 1 | 0.38 | 3 | 2M | 11 | No filter, take 11 BI images @ 0.38 second integration time (Shutter Control Disabled Closed)
Track 6 Calibration (OL420)
4a_Track6_OL420_PER100_11BI_01_ | 1 | 0.65 | 3 | 2M | 11 | PER100, take 11 BI images @ 0.65 second integration time (Shutter Control Disabled Closed)
4a_Track6_OL420_PER100_11LI_ | 1 | 0.65 | 3 | 2M | 11 | PER100, take 11 LI images @ 0.65 second integration time (Shutter Control Normal)
4a_Track6_OL420_PER100_11BI_02_ | 1 | 0.65 | 3 | 2M | 11 | PER100, take 11 BI images @ 0.65 second integration time (Shutter Control Disabled Closed)
Track 6 Calibration (OL420)
4a_Track6_OL420_BG28_11BI_01_ | 1 | 2.85 | 3 | 2M | 11 | BG28, take 11 BI images @ 2.85 second integration time (Shutter Control Disabled Closed)
4a_Track6_OL420_BG28_11LI_ | 1 | 2.85 | 3 | 2M | 11 | BG28, take 11 BI images @ 2.85 second integration time (Shutter Control Normal)
4a_Track6_OL420_BG28_11BI_02_ | 1 | 2.85 | 3 | 2M | 11 | BG28, take 11 BI images @ 2.85 second integration time (Shutter Control Disabled Closed)
Track 6 Calibration (OL420)
4a_Track6_OL420_BG39_11BI_01_ | 1 | 0.8 | 3 | 2M | 11 | BG39, take 11 BI images @ 0.8 second integration time (Shutter Control Disabled Closed)
4a_Track6_OL420_BG39_11LI_ | 1 | 0.8 | 3 | 2M | 11 | BG39, take 11 BI images @ 0.8 second integration time (Shutter Control Normal)
4a_Track6_OL420_BG39_11BI_02_ | 1 | 0.8 | 3 | 2M | 11 | BG39, take 11 BI images @ 0.8 second integration time (Shutter Control Disabled Closed)
Track 6&7 Calibration (OL420)
5a_Track6-7_OL420_11BI_01_ | 1 | 0.38 | 3 | 2M | 11 | No filter, take 11 BI images @ 0.38 second integration time (Shutter Control Disabled Closed)
5a_Track6-7_OL420_11LI_01_ | 1 | 0.38 | 3 | 2M | 11 | No filter, take 11 LI images @ 0.38 second integration time (Shutter Control Normal)
5a_Track6-7_OL420_11BI_02_ | 1 | 0.38 | 3 | 2M | 11 | No filter, take 11 BI images @ 0.38 second integration time (Shutter Control Disabled Closed)
Track 6&7 Calibration (OL420)
5a_Track6-7_OL420_PER100_11BI_01_ | 1 | 0.65 | 3 | 2M | 11 | PER100, take 11 BI images @ 0.65 second integration time (Shutter Control Disabled Closed)
5a_Track6-7_OL420_PER100_11LI_ | 1 | 0.65 | 3 | 2M | 11 | PER100, take 11 LI images @ 0.65 second integration time (Shutter Control Normal)
5a_Track6-7_OL420_PER100_11BI_02_ | 1 | 0.65 | 3 | 2M | 11 | PER100, take 11 BI images @ 0.65 second integration time (Shutter Control Disabled Closed)
Track 6&7 Calibration (OL420)
5a_Track6-7_OL420_BG28_11BI_01_ | 1 | 2.85 | 3 | 2M | 11 | BG28, take 11 BI images @ 2.85 second integration time (Shutter Control Disabled Closed)
5a_Track6-7_OL420_BG28_11LI_ | 1 | 2.85 | 3 | 2M | 11 | BG28, take 11 BI images @ 2.85 second integration time (Shutter Control Normal)
5a_Track6-7_OL420_BG28_11BI_02_ | 1 | 2.85 | 3 | 2M | 11 | BG28, take 11 BI images @ 2.85 second integration time (Shutter Control Disabled Closed)
Track 6&7 Calibration (OL420)
5a_Track6-7_OL420_BG39_11BI_01_ | 1 | 0.8 | 3 | 2M | 11 | BG39, take 11 BI images @ 0.8 second integration time (Shutter Control Disabled Closed)
5a_Track6-7_OL420_BG39_11LI_ | 1 | 0.8 | 3 | 2M | 11 | BG39, take 11 BI images @ 0.8 second integration time (Shutter Control Normal)
5a_Track6-7_OL420_BG39_11BI_02_ | 1 | 0.8 | 3 | 2M | 11 | BG39, take 11 BI images @ 0.8 second integration time (Shutter Control Disabled Closed)