## Sheet1
2009-12-29 | filenum | int time(s) | gain | Speed(Hz) | num of images | Comment
Check for Ambient light leaks (Blue sphere source off,the fibers uncapped looking in the sphere)
1a_Blue Sphere_01s_1BI_ | 1 | 0.1 | 3 | 2M | 1 | Take 1 BI images @ 0.1 second integration time (Shutter Control Disabled Closed)
1a_Blue Sphere_01s_1LI_ | 1 | 0.1 | 3 | 2M | 1 | Take 1 LI images @ 0.1 second integration time (Shutter Control Normal)
1a_Blue Sphere_600s_1BI_ | 1 | 0.1 | 3 | 2M | 1 | Take 1 BI images @ 600 second integration time (Shutter Control Disabled Closed)
1a_Blue Sphere_600s_1LI_ | 1 | 0.1 | 3 | 2M | 1 | Take 1 LI images @ 600 second integration time (Shutter Control Normal)
Source Calibrations (CAS)
CAS091230A |  | 80 ms |  |  |  | White LED after blue sphere
CAS091230B |  | 18 ms |  |  |  | Blue LED after blue sphere
CAS091230C |  | 45 ms |  |  |  | HeNe laser after blue sphere
Track 7 Calibration (White LED after blue sphere)
3a_track7_white LED_11BI_01_ | 1 | 0.5 | 3 | 2M | 11 | Take 11 BI images @ 0.5 second integration time (Shutter Control Disabled Closed)
3a_track7_white LED_11LI_ | 1 | 0.5 | 3 | 2M | 11 | Take 11 BI images @ 0.5 second integration time (Shutter Control Normal)
3a_track7_white LED_11BI_02_ | 1 | 0.5 | 3 | 2M | 11 | Take 11 BI images @ 0.5 second integration time (Shutter Control Disabled Closed)
Track 7 Calibration (Blue LED after blue sphere)
3a_track7_blue LED_11BI_01_ | 1 | 0.09 | 3 | 2M | 11 | Take 11 BI images @ 0.09 second integration time (Shutter Control Disabled Closed)
3a_track7_blue LED_11LI_ | 1 | 0.09 | 3 | 2M | 11 | Take 11 LI images @ 0.09 second integration time (Shutter Control Normal)
3a_track7_blue LED_11BI_02_ | 1 | 0.09 | 3 | 2M | 11 | Take 11 BI images @ 0.09 second integration time (Shutter Control Disabled Closed)
Track 7 Calibration (HeNe laser after blue sphere)
3a_track7_HeNe Laser_11BI_01_ | 1 | 0.06 | 3 | 2M | 11 | Take 11 BI images @ 0.06 second integration time (Shutter Control Disabled Closed)
3a_track7_HeNe Laser_11LI_ | 1 | 0.06 | 3 | 2M | 11 | Take 11 BI images @ 0.06 second integration time (Shutter Control Normal)
3a_track7_HeNe Laser_11BI_02_ | 1 | 0.06 | 3 | 2M | 11 | Take 11 BI images @ 0.06 second integration time (Shutter Control Disabled Closed)
Track 6 Calibration (White LED after blue sphere)
4a_track6_white LED_11BI_01_ | 1 | 0.5 | 3 | 2M | 11 | Take 11 BI images @ 0.5 second integration time (Shutter Control Disabled Closed)
4a_track6_white LED_11LI_ | 1 | 0.5 | 3 | 2M | 11 | Take 11 BI images @ 0.5 second integration time (Shutter Control Normal)
4a_track6_white LED_11BI_02_ | 1 | 0.5 | 3 | 2M | 11 | Take 11 BI images @ 0.5 second integration time (Shutter Control Disabled Closed)
Track 6 Calibration (Blue LED after blue sphere)
4a_track6_blue LED_11BI_01_ | 1 | 0.09 | 3 | 2M | 11 | Take 11 BI images @ 0.09 second integration time (Shutter Control Disabled Closed)
4a_track6_blue LED_11LI_ | 1 | 0.09 | 3 | 2M | 11 | Take 11 LI images @ 0.09 second integration time (Shutter Control Normal)
4a_track6_blue LED_11BI_02_ | 1 | 0.09 | 3 | 2M | 11 | Take 11 BI images @ 0.09 second integration time (Shutter Control Disabled Closed)
Track 6 Calibration (HeNe laser after blue sphere)
4a_track6_HeNe Laser_11BI_01_ | 1 | 0.06 | 3 | 2M | 11 | Take 11 BI images @ 0.06 second integration time (Shutter Control Disabled Closed)
4a_track6_HeNe Laser_11LI_ | 1 | 0.06 | 3 | 2M | 11 | Take 11 BI images @ 0.06 second integration time (Shutter Control Normal)
4a_track6_HeNe Laser_11BI_02_ | 1 | 0.06 | 3 | 2M | 11 | Take 11 BI images @ 0.06 second integration time (Shutter Control Disabled Closed)
Track 6&7 Calibration (White LED after blue sphere)
5a_track6-7_white LED_11BI_01_ | 1 | 0.5 | 3 | 2M | 11 | Take 11 BI images @ 0.5 second integration time (Shutter Control Disabled Closed)
5a_track6-7_white LED_11LI_ | 1 | 0.5 | 3 | 2M | 11 | Take 11 BI images @ 0.5 second integration time (Shutter Control Normal)
5a_track6-7_white LED_11BI_02_ | 1 | 0.5 | 3 | 2M | 11 | Take 11 BI images @ 0.5 second integration time (Shutter Control Disabled Closed)
Track 6&7 Calibration (Blue LED after blue sphere)
5a_track6-7_blue LED_11BI_01_ | 1 | 0.09 | 3 | 2M | 11 | Take 11 BI images @ 0.09 second integration time (Shutter Control Disabled Closed)
5a_track6-7_blue LED_11LI_ | 1 | 0.09 | 3 | 2M | 11 | Take 11 LI images @ 0.09 second integration time (Shutter Control Normal)
5a_track6-7_blue LED_11BI_02_ | 1 | 0.09 | 3 | 2M | 11 | Take 11 BI images @ 0.09 second integration time (Shutter Control Disabled Closed)
Track 6&7 Calibration (HeNe laser after blue sphere)
5a_track6-7_HeNe Laser_11BI_01_ | 1 | 0.06 | 3 | 2M | 11 | Take 11 BI images @ 0.06 second integration time (Shutter Control Disabled Closed)
5a_track6-7_HeNe Laser_11LI_ | 1 | 0.06 | 3 | 2M | 11 | Take 11 BI images @ 0.06 second integration time (Shutter Control Normal)
5a_track6-7_HeNe Laser_11BI_02_ | 1 | 0.06 | 3 | 2M | 11 | Take 11 BI images @ 0.06 second integration time (Shutter Control Disabled Closed)