## Sheet1
Resonon Data Acquistion Log Sheet for use with Roper Scientific WinView control software ( rev: 31-May-2012 )
Spreadsheet Filename: | NIST-2012-03_resonon_log.xls
Experiment name: | NIST-2012-03
Date (note local/GMT): | Friday 25-May-2012 HST
Location: | Snug Harbour, HI, Cal van
Observers: | M.E.Feinholz/MLML, B.C.Johnson/NIST
Instrument: | Resonon Blue & Red
Purpose: | scan NPR, which is in HI for NIST-2012-02 SLM/VXR InterCompare
File Extention | file num | Blue=1 Red=2 | Source | Wavelength (nm) | Lite Dark | Trk 01 | 02 | 03 | 04 | 05 | 06 | 07 | 08 | 09 | 10 | 11 | 12 | 13 | 14 | int time (sec) | gain | Speed (Hz) | num of images | Comments
Btest | 1 | 1 | LLS C.White |  | L | [14 empty] | 0.2 | 3 | 100k | 2 | LED on, room lights on | bar: Trk 01 to 14
Rtest | 1 | 2 | LLS C.White |  | L | [14 empty] | 0.2 | 3 | 100k | 2 | LED on, room lights on | bar: Trk 01 to 14
Btest | 2 | 1 | ambient |  | L | [14 empty] | 0.2 | 3 | 100k | 2 | LED off,room lights off | bar: Trk 01 to 14
Rtest | 2 | 2 | ambient |  | L | [14 empty] | 0.2 | 3 | 100k | 2 | LED off room lights off | bar: Trk 01 to 14
b20120526 | 1 | 1 | NPR-L4 |  | L | [14 empty] | 0.03 | 1 | 100k | 6 | NPR, only Lamp#4 on @ 01:50 | bar: Trk 01 to 14
b20120526 | 2 | 1 | NPR-L4 |  | D | [14 empty] | 0.03 | 1 | 100k | 6 | Background | bar: Trk 01 to 14
r20120526 | 1 | 2 | NPR-L4 |  | L | [14 empty] | 0.01 | 1 | 100k | 6 | 30 min lamp warmup | bar: Trk 01 to 14
r20120526 | 2 | 2 | NPR-L4 |  | D | [14 empty] | 0.01 | 1 | 100k | 6 | Background | bar: Trk 01 to 14
b20120526 | 3 | 1 | NPR-L4 |  | L | [14 empty] | 0.03 | 1 | 100k | 6 | bar: Trk 01 to 14
b20120526 | 4 | 1 | NPR-L4 |  | D | [14 empty] | 0.03 | 1 | 100k | 6 | Background | bar: Trk 01 to 14
b20120526 | 5 | 1 | NPR-L4 |  | L | [14 empty] | 0.03 | 1 | 100k | 6 | all FO's capped = "Dark" | bar: Trk 01 to 14
r20120526 | 3 | 2 | NPR-L4 |  | L | [14 empty] | 0.01 | 1 | 100k | 6 | all FO's capped = "Dark" | bar: Trk 01 to 14
lamp off @ 02:35
r20120526 | 4 | 2 | NPR-L4 |  | L | [14 empty] | 0.01 | 1 | 100k | 6 | FO's uncapped, lights off = "Ambient" | bar: Trk 01 to 14
b20120526 | 6 | 1 | NPR-L4 |  | L | [14 empty] | 0.03 | 1 | 100k | 6 | bar: Trk 01 to 14
b20120526 | 7 | 1 | NPR-L4 |  | D | [14 empty] | 0.03 | 1 | 100k | 6 | shuuter = closed ( MAYBE NOT ? ) | bar: Trk 01 to 14
r20120526 | 5 | 2 | NPR-L4 |  | D | [14 empty] | 0.01 | 1 | 100k | 6 | shutter = closed | bar: Trk 01 to 14
b20120526 | 8 | 1 | NPR-L4 |  | D | [14 empty] | 0.03 | 1 | 100k | 6 | shutter = closed | bar: Trk 01 to 14