## MOS,MUX
File: \data\2008\nist0801\doc\mos_acq_notes.xls (sheet 1of2 - MOS,MUX)
Date: 19-Jun-2008; by: M.Feinholz/MLML; ( rev:28Jun08 )
What: Data acquisition notes for Post-MOBY239 MOS205cfg12/MUX04cfg03 = odd-MOBY SIRCUS full-matrix SLC
Who: Keith Lykke, Steve Brown, Carol Johnson, Mark Yarbrough, Mike Feinholz
Schedule: | [6 empty] | λ range :
Day#1 = Wednesday 18-Jun-2008 = MY & MF arrive, unpack & setup
Day#2 = Thursday 19-Jun-2008 = Ar at 9 waves via all 7 collectors ( Es,t,m,b, Lt,m,b ) | [6 empty] | 455-515
Day#3 = Friday 20-Jun-2008 = doubled Ti:S 351:5:450 nm via Lt + all E & L at 370,401,431 | [6 empty] | 350-450
Day#3 = Friday 20-Jun-2008 = Ti:S 675:5:900 nm via Lt + all E & L at 675,705,745,776 | [6 empty] | 675-900
Day#4 = Saturday 21-Jun-2008 = Ti:S 1000:10:950 945:5:905 nm via Lt + all E & L at 905 nm | [6 empty] | 905-1000
Day#4 = Saturday 21-Jun-2008 = DCM dye 610:5:670 nm via Lt + all E & L at 609,660 nm | [6 empty] | 610-670
Day#5 = Monday 23-Jun-2008 = R6G dye 605:5:565 nm via Lt | [6 empty] | 565-605
Day#5 = Monday 23-Jun-2008 = Coumarin 521 dye 505:560 nm via Lt + all E & L at 540 nm | [6 empty] | 505:560
Day#5 = Monday 23-Jun-2008 = doubled Ti:S 472,480,492.5 nm via Lt | [6 empty] | 480493
Day#5 = Monday 23-Jun-2008 = CS filt=none,#A(BG28?),#B(?HP),#C(BG39?),PER via Lt,m,b | [6 empty] | cs
Day#6 = Tuesday 24-Jun-2008 = CS filter=no,#A,#B,#C,PER via Es,t,m,b | [6 empty] | cs
Day#6 = Tuesday 24-Jun-2008 = repeat Cou521 560 nm & R6G 565:575 nm RSG lines | [6 empty] | 560-575
Day#7 = Wednesday 25-Jun-2008 = repeat doubled Ti:S 481, 492.5 nm | [6 empty] | 481492.5
Day#8 = Thursday 26-Jun-2008 = NIR Ti:S w/ NIST Radiance Meter #303 | [6 empty] | 940:1025
Day#8 continued… see worksheet "LuMOS" for uh, LuMOS scans
Day#9 = Friday 27-Jun-2008 = LuMOS … see worksheet "LuMOS"
Day#10 = Saturday 28-Jun-2008 = LuMOS … see worksheet "LuMOS"
Notes:
All Ed & Lu heads were scanned where reflection peaks were present at ~ 30 nm intervals to compare r.p. shape/size
Date (UTC) | Time (UTC) | Filename *.mld | Collector | #dk , lt , dk | TT7 °C | Source | Wave (nm) | Notes
2008-06-19 | 17:45 | ar0101:07 | Es,t,m,b, Lt,m,b | 1,5,1 | 29.16 | Ar | 514.5 | reflection peaks not overlaying ?
" | 18:30 | ar0201:07 | " | 1,3,1 | 29.21 | " | 501.8 | only Ed r.p. differ ?
" | 18:58 | ar0301:07 | " | " | 29.23 | " | 496.5 | while Lu r.p. same ?
" | 19:20 | ar0401:07 | " | " | 29.24 | " | 488
" | 20:33 | ar0501:07 | " | " | 29.24 | " | 476.5 | Et saturated? ( yes! )
" | 20:52 | ar0508 | Et | " |  | " | " | repeat Et at lower gain
" | 20:58 | ar0601:07 | Es,t,m,b, Lt,m,b | " | 29.19 | " | 472.7
" | 21:26 | ar0701:07 | " | " | 29.19 | " | 465.8
" | 21:00 | ar0801:07 | " | " | 29.19 | " | 457.9
" | 22:21 | ar0901:07 | " | " | 29.19 | " | 454.5
2008-06-20 | 13:16 | dt0101:07 | Es,t,m,b, Lt,m,b | 1,3,1 | 28.67 | Ti:S x 2 | 401 |  | PULSED too according to Steve
" | 13:44 | dt0201:05 | Lt | " | 28.85 | " | 395:5:375
" | 14:17 | dt0301:07 | Es,t,m,b, Lt,m,b | " | 29.04 | " | 370
" | 14:49 | dt0401:04 | Lt | " | 29.19 | " | 365,60,55,51
" | 15:21 | dt0501:05 | Lt | " | 29.26 | " | 405:5:425
" | 16:58 | dt0601:07 | Es,t,m,b, Lt,m,b | " | 29.31 | " | 431
" | 17:21 | dt0701:04 | Lt | " | 29.26 | " | 435:5:450
Note: doubled Ti:S = pico sec pulsed laser - check for broadend bandwidth (24Jun08,SWB)
2008-06-20 | 17:53 | ts0101:07 | Es,t,m,b, Lt,m,b | 1,3,1 | 29.29 | Ti:S | 675
" | 18:22 | ts0201:05 | Lt | " | 29.24 | " | 680:5:700
" | 19:24 | ts0301:07 | Es,t,m,b, Lt,m,b | " | 29.24 | " | 705
" | 19:44 | ts0401:07 | Lt | " | 29.24 | " | 710:5:740
" | 20:12 | ts0501:07 | Es,t,m,b, Lt,m,b | " | 29.29 | " | 745
" | 20:38 | ts0601:05 | Lt | " | 29.34 | " | 750:5:770
" | 21:04 | ts0701:07 | Es,t,m,b, Lt,m,b | " | 29.39 | " | 776 | RP small, just to left of main pk.
" | 21:28 | ts0801:07 | Lt | " | 29.44 | " | 780:5:810 | RP inside main at 790 nm
" | 21:54 | ts0901:10 | Lt | " | 29.41 | " | 815:5:860
" | 22:28 | ts0911:18 | Lt | " | 29.41 | " | 865:5:900
2008-06-21 | 12:49 | ts1001:02 | Es, Lt | 1,3,1 | 27.81 | Ti:S | shuttered | dark,background,laser blocked
" | 12:55 | ts1101:07 | Es,t,m,b, Lt,m,b | " | 28 | " | 1000 | !? ~700:780 + >850 leaks ?!
" | 13:17 | ts1108 | repeat Lt | " | 28.39 | " | 1000 | ? extra 780 line in Lm,b,t#2 ?
" | 13:24 | ts1109:11 | repeat Lt,m,b | " | 28.52 | " | 1000 | Keith removed 780 line
" | 13:38 | ts1201:05 | Lt | " | 28.64 | " | 990:10:950 | Bogus = ts1106,07,08
* Note: at 980 nm, Keith measured power at sphere input as 8/100*300 mW
* Note: at 970 = 7/100*300, 960 = 5/100*300, 950 = 2/100*300 mW
2008-06-21 | 14:14 | ts1301:03 | Lt | 2,5,2 | 28.87 | Ti:S | 950 | more gain, more scans
" | 14:47 | ts1401:02 | Lt, Es | 1,3,1 | 28.99 | " | 945
" | 15:04 | ts1501:08 | Lt | " | 29.04 | " | 940:5:905
" | 15:36 | ts1601:07 | Es,t,m,b, Lt,m,b | " | 29.14 | " | 905
2008-06-21 | 16:11 | dc0101:07 | Es,t,m,b, Lt,m,b | 1,3,1 | 29.09 | DCM | 609
" | 16:41 | dc0201:09 | Lt | " | 29.04 | " | 615:5:655
" | 17:37 | dc0301:07 | Es,t,m,b, Lt,m,b | " | 29.01 | " | 660
" | 18:05 | dc0401:02 | Lt | " | 29.04 | " | 665,670
2008-06-23 | 13:24 | r60101:09 | Lt | 1,3,1 | 28.89 | R6G | 605:5:565
Note: 1st 2 RSG peaks at 565, 570 nm are very nosy - could use more gain & scans ! (23Jun08,MF)
2008-06-23 | 14:58 | co0101:06 | Lt | 1,3,1 | 29.24 | Coum521 | 505-535
" | 15:20 | co0201:07 | Es,t,m,b, Lt,m,b | " | 29.19 | " | 540
" | 15:45 | co0301:04 | Lt | " | 29.09 | " | 545:5:560
Note: gain was set too low to resolve 1st 3 RSG peaks at 550, 555, 560 nm - repeat ? (23Jun08,MF)
2008-06-23 | 16:02 | dt0801:03 | Lt | 1,3,1 | 29.08 | Ti:S x 2 | 472480493 |  | PULSED too according to Steve
Note: this doubled Ti:S = CW = not pulsed (24Jun08,SWB)
Note: low power from Ti:S bcs of H2O abs 930-970 --> 465- 485 nm (23Jun08,K.Lykke)
Note: SF removed dt0802 @ 481 & dt0803 @ 492.5 nm bcs too noisy - please repeat (24Jun08,MF)
2008-06-23 | 19:57 | cs0101 | Lb | 1,3,1 | 28.57 | CS-S1 | shuttered | Ambient
" | 20:21 | cs0102 | Lt | " | 28.6 | CS-S2 | no filter | open sphere
" | 20:31 | cs0103:05 | " | " | 28.62 | " | filter #A | B.Saunders "green"
" | 20:41 | cs0106 | " | " | 28.64 | " | no filter
" | 20:48 | cs0107:09 | " | " | 28.62 | " | filter #B | B.Saunders "red" (~550 nm HP)
" | 20:55 | cs0110 | " | " | 28.64 | " | no filter
" | 21:06 | cs0111:13 | " | " | 28.69 | " | filter #C | B.Saunders "blue green"
" | 21:18 | cs0114 | " | " | 8.67 | " | no filter
2008-06-23 | 22:49 | cs0115 | Lt | 1,3,1 | 28.96 | CS-S2 | PER
2008-06-23 | 21:24 | cs0201:03 | Lm | 1,3,1 | 28.69 | CS-S2 | no filter | open sphere
" | 21:35 | cs0204 | " | " | 28.79 | " | filter #A | green
" | 21:45 | cs0205 | " | " | 28.84 | " | filter #B | red
" | 21:52 | cs0206 | " | " | 28.89 | " | filter #C | blue
" | 22:06 | cs207 | " | " | 28.96 | " | PER | ( BCJ just brought this filter )
2008-06-23 | 22:13 | cs0301:02 | Lb | 1,3,1 | 28.94 | CS-S2 | no filter
" | 22:21 | cs0303 | " | " | 28.96 | " | filter #A
" | 22:26 | cs0304 | " | " | 28.94 | " | filter #B
" | 22:34 | cs0305 | " | " | 28.96 | " | filter #C | file hdr incorrectly says PER filter
" | 22:43 | cs0306 | " | " | 28.94 | " | PER
2008-06-24 | 13:00 | cs0401 | Es | 1,3,1 | 28.47 | CS-S1 | shuttered | Ambient
" | 13:18 | cs0402 | " | " | 28.59 | CS-S2 | no filter
" | 13:41 | cs0403 | " | " | 28.72 | " | filter #A
" | 13:57 | cs0404 | " | " | 28.79 | " | filter #B
" | 14:06 | cs0405 | " | " | 28.84 | " | filter #C
" | 14:21 | cs0406 | " | " | 28.92 | " | filter PER
2008-06-24 | 14:54 | cs0501 | Et | 1,3,1 | 29.14 | CS-S2 | no filter
" | 15:01 | cs0502 | " | " | 29.14 | " | filter #A
" | 15:11 | cs0503 | " | " | 29.14 | " | filter #B
" | 15:18 | cs0504 | " | " | 29.11 | " | filter #C
" | 15:28 | cs0505 | " | " | 29.11 | " | filter PER
2008-06-24 | 15:39 | cs0601 | Em | 1,3,1 | 29.16 | CS-S2 | no filter
" | 15:45 | cs0602 | " | " | 29.14 | " | filter #A
" | 15:53 | cs0603 | " | " | 29.16 | " | filter #B
" | 15:59 | cs0604 | " | " | 29.14 | " | filter #C
" | 16:07 | cs0605 | " | " | 29.16 | " | filter PER
2008-06-24 | 16:18 | cs0701 | Eb | 1,3,1 | 29.21 | CS-S2 | no filter
" | 16:24 | cs0702 | " | " | 29.19 | " | filter #A
" | 16:32 | cs0703 | " | " | 29.21 | " | filter #B
" | 16:39 | cs0704 | " | " | 29.21 | " | filter #C
" | 16:47 | cs0705 | " | " | 29.21 | " | filter PER
Note: Repeating first blue-end-of-RSG peaks between 550 & 570 nm
2008-06-24 | 19:20 | co0401 | Lt | 1,2,1 | 28.91 | Coum521 | 560 | 6 min RSG int = no net signal !
2008-06-24 | 19:58 | r60201 | Lt | 2,5,2 | 29.06 | R6G | 565 | 100 sec RSG int time
" | 20:27 | r60202 | " | " | 29.19 | " | 570 | 18 sec RSG int time
" | 20.38 | r60203 | " | " |  | " | 575
Note: low power from Ti:S bcs of H2O abs 930-970 --> 465- 485 nm (K.Lykke)
Note: SF removed dt0802 @ 481 & dt0803 @ 492.5 nm bcs too noisy - please repeat (24Jun08,MF)
2008-06-25 | 14:31 | dt0901:03 | Lt | 2,5,2 | 28.54 | Ti:S x 2 | 481 | repeat of dt0803 | PULSED too according to Steve
" | 15:07 | dt0904:06 | " | " | 28.82 | " | 492.5 | repeat of dt0804
Note: monitor SIRCUS pwr via calibrated(?) NIST Radiance Meter (NRM) #303 & Fluke 79III DVM | [7 empty] | --- NRM: Gain, Vdc ---
2008-06-26 | 14:38 | ts1701 | Lt | 1,3,1 | 28.94 | Ti:S | 940 | 10^9, 0.413
" | 14:42 | ts1702 | " | " | 28.98 | " | 945 | 0.306
" | 14:48 | ts1703 | " | " | 28.99 | " | 950 | 0.491
" | 14:53 | ts1704 | " | " |  | " | 955 | 0.801 (.794 - .813)
" | 14:58 | ts1705 | " | " | 29.04 | " | 960 | 1.075 (1.058 - 1.085)
" | 15:04 | ts1706 | " | " | 29.05 | " | 960 | 1.033 (1.025 - 1.055)
" | 15:10 | ts1707 | " | " | 29.06 | " | 970 | 1.673 (1.660 - 1.680)
" | 15:15 | ts1708 | " | " | 29.11 | " | 980 | 1.580 (1.55 - 1.59 )
" | 15:25 | ts1709 | " | " |  | " | 990 | 1.272 (1.267 - 1.276)
" | 15:37 | ts1710 | " | " | 28.16 | " | 1000 | 0.628 (.624 - .631)
" | 15:40 | ts1711 | " | " |  | " | 1000 | 0.629
" | 15:43 | ts1712 | " | " |  | " | 1000 | 0.629
" | 15:46 | ts1713 | " | " | 29.18 | " | 1000 | 0.629
" | 15:53 | ts1714 | " | " | 29.19 | " | 1010 | 0.278 (.276 - .280)
" | 15:57 | ts1715 | " | " | 29.22 | " | 1010 | 0.278
" | 16:12 | ts1716 | " | " | 29.29 | " | 1020 | 0.122
" | 16:33 | ts1717 | " | " | 29.31 | " | 1025 | 0.076 (0.074 - 0.078)

## LuMOS
File: \data\2008\nist0801\doc\mos_acq_notes.xls (sheet 2of2 - LuMOS)
Date: 19-Jun-2008; by: M.Feinholz/MLML; ( rev:28Jun08 )
What: Data acquisition notes for Post-MOBY239 MOS205cfg12/MUX04cfg03 = odd-MOBY SIRCUS full-matrix SLC
Who: Keith Lykke, Steve Brown, Carol Johnson, Mark Yarbrough, Mike Feinholz
Schedule: | [6 empty] | λ range :
Day#8 = Thursday 26-Jun-2008 = Ti:S via BCJ, mostly @ 10nm, 5,2 nm @ rp thru main pk. | [6 empty] | 695:1025
Day#9 = Friday 27-Jun-2008 = doubled Ti:S | [6 empty] | 357:480
Day#9 = Friday 27-Jun-2008 = Ar ion | [6 empty] | 454.5:514.5
Day#9 = Friday 27-Jun-2008 = Ar ion pumped R6G dye | [6 empty] | 565:605
Day#9 = Friday 27-Jun-2008 = Ar ion pumped DCM dye | [6 empty] | 615:688
Day#10 = Saturday 28-Jun-2008 = Ar ion pumped Coumarin 521 dye | [6 empty] | 506:565
Date (UTC) | Time (UTC) | Filename *.mld | Collector | #dk , lt , dk | TT7 °C | Source | Wave (nm) | Notes
2008-06-26 | 20:23 | upts0101 | LuMOS | 1,3,1 |  | Ti:S | no | laser blocked, Ambient
" | 20:32 | upts0102:07 | " | " | 28.34 | " | 695:734 | 10 nm spacing
" | 20:55 | upts0108:14 | " | " | 28.15 | " | 744:780 | 10 & 5 nm spacing
" | 21:30 | upts0115:22 | " | " | 28.12 | " | 785:820 | 5 nm spacing
" | 21:52 | upts0123:30 | " | " | 28.08 | " | 830:880 | 10 & 2 nm spacing
" | 22:25 | upts0131:37 | " | " | 28.05 | " | 900:955 | 20,10,5 nm spacing
" | 23:00 | upts0138:44 | " | " | 27.98 | " | 960:1000 | 10 nm spacing
" | 23:35 | upts0145:47 | " | " | 27.92 | " | 1011,1021,1025
" | 23:57 | upts0148:49 | " | " | 27.98 | " | 890910
2008-06-27 | 13:34 | updt0101 | LuMOS | 1,3,1 | 27.48 | Ti:S x 2 | no | beam block, ambient | PULSED too according to Steve
Note: Keith added prism & filter to remove fundamental line (this was not necessary for MOBY E&L?) is residual RSG signal via fundamental ?
" | 14:08 | updt0102:05 | LuMOS | 1,3,1 | 27.7 | Ti:S x 2 | 391:357 |  | PULSED too according to Steve
" | 14:32 | updt0106:14 | " | " | 27.75 | " | 400:480
2008-06-27 | 15:57 | upar0101:09 | LuMOS | 1,3,1 | 27.77 | Ar | 514.5:454.5
2008-06-27 | 19:34 | upr60101:05 | LuMOS | 1,3,1 | 27.72 | R6G | 565:10:605
" | 20:00 | upr60106 | " | " |  | " | 570 | repeat… ? odd rsg @ 565 ?
2008-06-27 | 20:12 | updc0101:10 | LuMOS | 1,3,1 | 27.8 | DCM | 615:688
2008-06-28 | 12:55 | upco0101 | LuMOS | 1,3,1 | 27.87 | Coum521 | no | beam block, ambient
" | 13:08 | upco0102 | " | " | 27.77 | " | 555 | no rsg sig @ 100s 384p
" | 13:24 | upco0103 | " | " | 27.75 | " | 559.7 | small rsg sig @ 100s 384p
" | 13:36 | upco0104:08 | " | " | 27.72 | " | 545:506