## EventLog
File: \NOAA\MOBY\doc\moby2_eventlog.xls, Worksheet 1 of 1 = EventLog |  |  |  | Definitions: | FLPB = FORTH LOG GPS positions are bad
What: Log of notable events for MOBY deployments |  |  |  |  | IntCal = Internal Calibration Lamps (red led, blue led, lamp)
Date: 15-Nov-2007; By: M.Feinholz/MLML ( Rev: 04-Apr-2012 S. Flora ) |  |  |  |  | after = means all intcal data were collected at the end of the MOBY file
before&after = means rled and bled data were collected at the beginning of the MOBY file and at the end of the MOBY file
[5 empty] | intTime = Integration time | [10 empty] | Number of MOBY files
MOBY2 | Deploy | Recover | Comments | Arm Damaged | Buoy Adift | Flopper Stoper Problems | GPS issues | Fouling Issues | ARGOS Unit | Tether Issues | Other | EuMOS | LuMOS | IntCal | Which Hours | Total | Bad | Good | Quest
1 | 15-Sep-96 L14 | 03-Nov-96 L15 | [10 empty] | X | after
2 | 16-Nov-96 L15 | 01-Mar-97 L16 | All data suspect - optical mux misalignment | [9 empty] | X | after
3 | 20-Jul-97 L20 | 08-Dec-97 L25 | Big Es drift due to de-focusing lens. 27-30Oct & 30Nov-8Dec97 MOBY adrift |  | X | not installed until 11 Nov 97 | FLPB | [5 empty] | X | after | 00,20,21,22 | 258 | 119 | 122 | 15
4 | 11-Dec-97 L25 | 23-Apr-98 L29 |  |  |  |  | FLPB | [5 empty] | X | after | 21,22 | 260 | 102 | 142 | 15
5 | 21-Apr-98 L29 | 25-Jul-98 L35 | 18May98 Top arm gone | LuTop, EdTop and upper arm depth sensor (18 May) |  | stoppers lost twice (15 May, 21 Jun) | FLPB | crab found in the LuMid or LuBot gershin tube | 1536 |  |  |  | X | after | 21,22 | 176 | 73 | 97 | 5
6 | 24-Jul-98 L35 | 27-Oct-98 L38 | Low OH Fiber Optics |  |  | stoppers are missing (25 Aug) replaced (20 Sep) | MOBY GPS bad (use fixed position), FLPB |  | 1536 |  |  |  | X | after | 21,22 | 182 | 59 | 108 | 11
7 | 24-Oct-98 L38 | 07-Feb-99 L43 | Post EdMid LOW! MOS205cfg04 new RSG HP filter & RSG mirror scraped at 1st order reflection |  |  | stoppers missing and replaced (7 Dec) Gone again (5 Jan) and replace (10 Jan) | FLPB |  | 9778 | Tether wrapped around top arm (7 Dec) *Unwrapped tether (21 Jan) |  |  | X | after | 21,22 | 197 | 91 | 96 | 10
8 | 09-Feb-99 L43 | 03-May-99 L45 | Low OH Fiber Optics |  |  |  | FLPB |  | 9779 | untangled from the tether (9 Mar) |  |  | X | after | 20,21,22 | 158 | 57 | 75 | 21
9 | 01-May-99 L45 | 31-Jul-99 L48 | 19Jul99 LED scanning bogus. 25Jul = last files - data disc RIP. New Cu cosine bezels. 1st anodized Cu cos bezels - black came off FAST in H2O |  |  |  | FLPB |  | 9779 | unwrapped from the tether (2 Jun) |  |  | X | after | 20,22 | 160 | 65 | 77 | 6
10 | 29-Jul-99 L48 | 18-Nov-99 L51 | Low OH Fiber Optics. MOS204cfg03 new Blue shutter. 1st painted Cu cos bezels - black came off SLOWLY in H2O, no black left at PostCal |  |  |  | FLPB |  | 1536 |  |  |  | X | after | 20,22 | 222 | 71 | 140 | 9
11 | 15-Nov-99 L51 | 10-Feb-00 L54 | 22Nov99 last good Top arm data. 16Dec99 broken top arm removed | LuTop, EdTop and upper arm depth sensor (23 Nov) |  |  | FLPB |  | 9779 |  |  |  | X | after | 20,22 | 168 | 67 | 70 | 30
12 | 13-Feb-00 L54 | 16-May-00 L56 | PreCal LuMid via NIST NPR & Lasers |  |  |  | FLPB |  | 9779 |  |  |  | X | after | 20,22 | 186 | 75 | 97 | 14
13 | 15-May-00 L56 | 05-Aug-00 L59 | Top arm bent (during recovery tow?) |  |  |  | FLPB |  | 1536 |  |  |  | X | after | 20,22 | 154 | 56 | 87 | 10
14 | 03-Aug-00 L59 | 04-Dec-00 MOCE7 |  | LuTop data went bad (19 Sep) |  |  | FLPB |  | 1536 |  |  |  | X | after | 20,22 | 240 | 108 | 120 | 11
15 | 04-Dec-00 MOCE7 | 28-Feb-01 MOCE8 | 09Jan01 = last good top data - top arm bent >> 01Mar01 New Mooring | Top arm bent downward @45 deg (11 Jan) |  |  | FLPB |  | 1536 |  |  |  | X | after | 20,22 | 167 | 63 | 87 | 16
16 | 04-Mar-01 MOCE8 | 02-Jun-01 L69 | MOBY dropped during recovery, Post Et mirror loose | LuTop, LuMid and EdTop -bad (26 May) |  |  | FLPB |  | 1536 |  | upper arm depth not working |  | X | after | 20,22 | 176 | 79 | 80 | 17
17 | 01-Jun-01 L69 | 26-Sep-01 L72 | 1st EuMOS. 06Aug Lm red anomaly = assumed top arm bent date. PostCal NIST SLC | Top arm bent (6 Aug) |  |  | FLPB |  | 1536 |  |  | X | X | after | 20,22 | 226 | 79 | 133 | 14
18 | 24-Sep-01 L72 | 22-Jan-02 L74 | PreCal NIST SLC. 12Dec01 = Top arm gone. | LuTop, EdTop and upper arm depth sensor (12 Dec) |  |  | FLPB | LuMid barnical (25 Dec) | 1536 |  |  | X | X | after | 20,22 | 231 | 129 | 67 | 33
19 | 23-Jan-02 L74 | 25-May-02 L80 | Bogus Flow meter. Jan02 = NIST0201 preCal. Jun02 = NIST0204 postCal |  |  |  | FLPB |  | 1536 |  |  | X | X | after | 20,22 | 213 | 111 | 73 | 29
20 | 25-May-02 L80 | 13-Oct-02 L85 | Apr02 = NIST0202 preCal. Rebuilt top arm, new E/L top head & FO's. Post-Deploy: 3 corroded bolts top mast flange. |  |  |  | FLPB |  | 1536 |  |  | X | X | after | 20,22,23 | 374 | 155 | 191 | 28
21 | 12-Oct-02 L85 | 22-Jan-03 L89 | New Lm FO, new flow sensor. After postCal: Lm FO pistoned at head-end |  |  |  | FLPB | LuMid too low (mid-Dec to 10 Jan) *Small fish in LuMOS port | 1536 |  | tricho bloom? (19 Oct) | X | X | after | 20,22,23 | 304 | 133 | 148 | 22
22 | 23-Jan-03 L89 | 18-Apr-03 L91 |  |  |  |  | FLPB |  | 1536 |  |  | X | X | after | 20,22,23 | 235 | 117 | 108 | 10
23 | 17-Apr-03 L91 | 12-Jul-03 L96 | deploy wind too rough for flopStop or diveCal. Real Time Clock off - reset L92 24Apr03 = 1st profile 21May mid arm broke/removed. 12Jul stole controller disc drive for B24 | LuMid and LuTop gone (21 May) |  | flopper-stoppers installed (23 Apr) | FLPB |  | 1536 |  | Lw10 calced from LuBot and mean Kl | X | X | after | 20,22,23 | 235 | 180 | 50 | 5
24 | 11-Jul-03 L96 | 13-Nov-03 L102 | bad MOBY disc drive - swap w/ B23 on 13Jul. Eu not scanned during B24! Post: Eb & Eu FO pulled into termination at head-end. |  |  |  | FLPB |  | 9779 |  | MOBY tilted > 10 deg |  | X | after | 20,22,23 | 355 | 164 | 156 | 35
25 | 12-Nov-03 L102 | 03-Feb-03 L104 | Et head: new mirror, lens & mirror locked down. No Eu sensor |  |  |  | FLPB |  | 9778 |  | B/R int times are now equal *Green water (7 Jan) |  |  | before&after | 20,22,23 | 249 | 124 | 95 | 29
26 | 04-Feb-03 L104 | 07-May-04 L106 | New Eb FO. No Eu sensor. No LuMOS scanning. |  |  |  | FLPB |  | 9779 |  |  |  |  | before&after | 20,22,23 | 271 | 120 | 98 | 53
27 | 06-May-04 L106 | 07-Aug-04 L109 | New Es FO. NOT disassembled after postCal / MOS not removed before B29 / post wave cal via B29 EdTop |  |  |  | FLPB |  | 9778 |  | Kl flare *17-25 Jul 22 hr files shadowed |  |  | before&after | 20,22,23 | 272 | 124 | 116 | 32
28 | 06-Aug-04 L109 | 07-Dec-04 L112 | PreCal LuTop via NPR-4Lamps = NIST0401. Lm FO broken at postCal (during press wash?) | [5 empty] | 9779 |  |  |  |  | before&after | 20,22,23 | 346 | 158 | 146 | 42
29 | 06-Dec-04 L112 | 02-Mar-05 L114 | B27 not disassembled / MOS not removed before B29 preCal. Et,m,b cos bezels refurbished before preCal. PreCal wave cal via EdTop |  |  |  | FLPB |  | 9778 |  |  |  |  | before&after | 20,22,23 | 257 | 115 | 102 | 40
30 | 04-Mar-05 L114 | 20-Aug-05 L120 | 17-19Aug bogus Et: top arm bent down slightly, Et cos bezel smashed, right-angle head flooded, mirror off mount. No postCal LuMOS - RCCD pwr sup over-voltaged RIP. | LuTop and EdTop - bad (17 Aug) |  | stoppers were installed (28 Apr) | FLPB |  | 9779 |  | Battery 4 had died (22 Jun) |  |  | before&after | 20,22,23 | 471 | 238 | 158 | 69
31 | 20-Aug-05 L120 | 02-Dec-05 L123 | [5 empty] | LuBot low - cleaned OK (mid-Oct to 22 Oct) | 9778 |  |  |  |  | before&after | 20,22,23 | 314 | 168 | 110 | 36
32 | 02-Dec-05 L123 | 01-Mar-06 L126 | SF thinks 22&23:00 Lm signal too high. 10Feb06 = last data - lower battery junction RIP | All LuBot data bad |  |  | FLPB |  | 9779 |  | Battery 4 died (20 Jan) * lower power junction is not functioning properly *11 Feb - 1 Mar = no MOBY data |  |  | before&after | 20,22,23 | 206 | 81 | 118 | 7
33 | 03-Mar-06 L126 | 06-Jun-06 L131 | New R2O power tether & swivel. New mooring. No cell tele comm w/ MOBY. Post: Mux flooded, MOS UP endcap badly corroded. | [5 empty] | 9778 |  | 10 Mar - FCC ruling stopped modem dialing in |  |  | before&after | 20,22,23 | 273 | 133 | 120 | 20
34 | 06-Jun-06 L131 | 23-Sep-06 L137 | No cell tele comm. 08Aug 20:00 no Em signal - FO broke near Mux. | EdMid died (8 Aug) |  |  | FLPB |  | 9779 |  | bird spikes bent, may be in FOV |  |  | before&after | 20,22,23 | 300 | 146 | 119 | 35
35 | 22-Sep-06 L137 | 10-Dec-06 L141 | No cell tele comm. |  |  |  | FLPB |  | 9779 |  |  |  |  | before&after | 20,22,23 | 221 | 106 | 91 | 24
36 | 09-Dec-06 L141 | 03-Mar-07 L143 | No cell tele comm. Only diveCal = init on 22Dec06. | LuTop (19Feb) LuBot (15Jan) |  |  | FLPB |  | 9779 |  | LuMID inttime = 5.6 (should = 56) and R/B inttime ~= *Lw11 calced from LuMid and mean Kl |  | X | after | 20,22,23 | 244 | 132 | 83 | 29
37 | 03-Mar-07 L143 | 21-Jun-07 L147 | New desicated FO heads. No cell tele. L143 + SORTIE. 06-8Jun MOBY adrift. After postCals: MOS not removed from MOBY, only Es FO disconnected to repair tether joint. | Boat hit on top arm (4 Jun) | X |  | FLPB | [5 empty] | X | after | 00,20,21,22,23 | 326 | 141 | 150 | 35
38 | 20-Jun-07 L147 | 09-Sep-07 L150 | New desicated FO heads. New top/main buoy float. No cell tele. After postCals: MOS left in MOBY, FOs not disconnected. LuMID UV problem |  |  |  | FLPB |  |  |  | No FORTH LOG. |  | X | after | 20,22,23 | 220 | 11 | 18 | 7
39 | 11-Sep-07 L150 | 21-Dec-07 L154 | Tether post sleeve re-welded. (PC104 almost deployed) New Mooring. No cell comm. TT7 main Battery died on 8 Dec | LuBot found broken when recovered | X |  | - | 3/4" long barnacle inside LuTop g-tube (22 Oct) |  |  |  |  | X | after | 20,22,23 | 59 | 20 | 27 | 12
40 | 28-Mar-08 L156 | 22-Aug-08 L159 | Major LuMID UV problem. Cell comm back. | [9 empty] | X | after | 20,22,23
41 | 21-Aug-08 L159 | 07-Dec-08 L164 |  | EdTop has a chipped diffuser |  | 13-Nov: new stopper installed | [6 empty] | X | after | 20,22,23
42 | 06-Dec-08 L164 | 15-Apr-09 L169 | [8 empty] | 28-Jan: power control box was replaced, one solar panel was replaced |  | X | after | 20,22,23
43 | 17-Apr-09 L169 | 08-Aug-09 L172 | [5 empty] | 26-May: barnacle inside LuTop AFT |  |  | 18-Jul: battery #2 disabled |  | X | after | 20,22,23
44 | 07-Aug-09 L172 | 12-Jan-10 L178 | LuBot data bad from 26-Sep to end of deploy and 26 Sept- 20 Nov are marked questionable. LuTop arm died on last day. Dec 19th: MOBY to stop collecting data |  |  |  |  | 26 Sep: Barnacle on the EdBot arm. |  |  | 19-Aug: MOBY battery #4 disabled |  | X | after | 20,22,23
45 | 12-Jan-10 L178 | 16-Jun-10 L182 | 9 Feb: LuMid data are marked bad to end of deploy. |  | X | [5 empty] | data order wrong, int times wrong Ed/LuTop |  | X | after | 20,22,23
46 | 15-Jun-10 L182 | 17-Mar-11 L191 | Disaster deployment: Many problems with Lu/Ed/Es data (see docs) | 15-Jul: top arm is damaged | X | 5-Feb: new flopper-stoppers installed | 27 Dec: problems GPS started |  | 15-Jul: replaced | 25-Jan: tether chafed. 5-Feb: new tether | MUX problems caused by old relays (low Es..) |  | X | after | 20,22,23
47 | 18-Mar-11 none | 27-Aug-11 none | only weather and ARGOS data collected
48 | 28-Aug-11 L193 | [11 empty] | X | after | 20,22,23
49 | 17-Dec-11 Lxxx | [9 empty] | MOS can opened |  | X | after | 20,22,23